Simposio de Metrología 2004

25 al 27 de Octubre



THE EVALUATION OF THE UNCERTAINTY OF POSITIONAL DEVIATIONS OF CNC MACHINE TOOLS

Ignacio Lira and George Cargill

Departamento de Ingeniería Mecánica y Metalúrgica, Pontificia Universidad Católica de Chile.

Vicuña Mackenna 4860, Santiago, Chile. Tel.: +56 2 354 4629, fax: +56 2 354 5828, ilira@ing.puc.cl

Abstract The assessment of the measurement uncertainty is an indispensable task in all calibration procedures. By international accord, the evaluation is to be done in accordance with the ISO Guide to the Expression of Uncertainty in Measurement (GUM). To calibrate the positional deviations of computer numerically controlled (CNC) machine tools, calibration laboratories will usually follow the guidelines in ISO 230-2 International Standard. However, that standard does not address uncertainty. In this paper we present an uncertainty evaluation scheme that is firmly grounded in the GUM, and can therefore be of use as a guide to develop appropriate uncertainty calculations in this and similar types of calibrations.












































































1

