AUTOMATION IN THE LABORATORIES OF DIMEL

Marcos Antonio Salvino da Silva

National Institute of Metrology, Normalization and Industrial Quality – INMETRO

Management of Legal Metrology – DIMEL

Tel: 55 21 2679-9169; Fax: 55 21 2679-1761; e-mail: masalvino@inmetro.gov.br

Summary: This work shows the automation of a calibration process using the program LabView®, looking for the improvement of the current procedure of calibration of the Onneken pressure standard.

Using the program helps to increase the productivity and efficiency of the laboratories of DIMEL, where some steps of the current process have been reduced or eliminated.

Key Words: Calibration, Sphygmomanometer, Legal Metrology.