EVALUATION OF THE UNCERTAINTY OF MEASUREMENT OF MECHANICAL PROPERTIES ON THE TENSILE TESTING

Luiz Roberto Oliveira da Silva A

A Centro Federal de Educação Tecnológica do Rio de Janeiro

Avenida Maracanã 229 - Rio de Janeiro, RJ, Brasil.

Teléfono: + 55 21 99714465 - luizrob@antares.com.br

Abstract: The objective of this study was to develop a methodology for determining the result of measurement concerning tensile mechanical properties and their respective uncertainties. Such methodology, which has a possible systematic application, is associated with advanced metrology concepts, aiming a guarantee of metrological reliability to the results of the tensile properties, as well as the possibility of implementation in industrial laboratories, researches centers and in the Testing Laboratory Network.